## Slide 1
Video Displacement Measurement System
SITL, Chung-Ang University

## Slide 2
Objective
Develop a 6-DOF displacement measurement system
Use Aruco markers for accurate pose estimation
User friendly interface for efficient data collection and processing

## Slide 3
Project Overview
Goals and objectives of the project
Description of the 6-DOF displacement measurement system using Aruco markers
Hardware and software components used.

## Slide 4
System Design
Features of the custom Tkinter-based GUI
Camera node launching, video capture testing, and calibration functionalities
Aruco marker detection and pose estimation capabilities
Data saving in CSV format for analysis.

## Slide 5
System Components
Hardware
  Core-i7 Intel Desktop Computer
  AverMedia LIVE Streamer CAP 4K video capture cards (x 3)
  Sony RX10 IV Cameras (x 3)
Software
  Ubuntu 20.04
  ROS Noetic
  CustomTkinter
  OpenCV

## Slide 6
User Interface and Interaction

## Slide 7
System Operation
Calibration Process
Importance of camera calibration for accurate measurements
Brief explanation of the calibration method employed.

## Slide 8
Measurement Process
Steps involved in capturing and calculating displacements
Explanation of how initial poses are captured and subtracted for displacement calculation.

## Slide 9
Performance Results
Summary of tests conducted (e.g., different axes displacements)
Error analysis:X-axis accuracy (less than 1 mm error)
Z-axis accuracy (more than 1 mm error)
Factors influencing accuracy (e.g., lighting conditions, marker size).

## Slide 10
Data Analysis
Format and content of CSV data output
Potential data visualization and analysis methods.

## Slide 11
Conclusion

## Slide 12
camera_data_file_path = 'data_Exp1_20s_2024-07_16_09_24_03.csv' camera_data = pd.read_csv(camera_data_file_path) # Load the LDV data from the uploaded CSV file ldv_data_file_path = 'protocol_optoNCDT-ILD1420_2024-07-16_09-24-00.721.csv' ldv_data = pd.read_csv(ldv_data_file_path, skiprows=6, delimiter=';')